## INTERIOR_FINISH_SCHE_0
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71
| CEILING CODE SCHEDULE FLOOR FINISH LEGEND GENERAL FINISH NOTES FINISH CODE MANUFACTURER MFG. LINE STYLE NO. COLOR SIZE INSTALLATION FLAME SPREAD RATING REMARKS A1 ROCKFON SONAR SLN16200 -.95 NRC WHITE/ WHITE GRID 2 'X 2' X 1" SQ. TEGULAR NARROW CLASS A NO SUBSTITUTIONS 1. REFER TO ARCHITECTURAL AREA PLANS FOR INTERIOR ELEVATION TAGS. FLOOR FINISH LVT-1, 2. REFER TO FINISH LEGEND & CODE SCHEDULES FOR FINISH TAG DESIGNATIONS. C2 MOZ CORRUGATED PATINA COLLECTION SLN16200 -.95 NRC 111A POLYCOAT FLAT 44 1/2″ x 96″X 5/8" DIRECT GLUE CLASS A NO SUBSTITUTIONS TYPICAL U.N.O. 3. REFER TO G-001 FOR WALL FINISH TAG DESCRIPTION. S1 BARRON DESIGNS FAUX WOOD BEAMS BAOBM- HERITAGE- 3 SIDED TOASTED MARSHMALLOW 4410 12"W X 4"D X L VARIES (REFER TO RCP) PER MANF. INSTRUCTIONS CLASS A 4. REFER TO SHEET A160 FOR ALL INTERIOR TRANSITION DETAILS. S2 WINDSORONE BEADBOARD SPBC6 TOASTED MARSHMALLOW 4410 23/32" x 5-1/2" X 16' PER MANF. INSTRUCTIONS CLASS A FLOOR FINISH 5. ANY LOCATION WHERE TWO FLOORING FINISHES COME IN A DOORWAY, EXTEND THE FLOORING TO MEET AT CENTERLINE OF DOOR. WOOD EPX-1 PAINT CODE SCHEDULE 6. FOR TRANSITIONS OF DIFFERENT THICKNESS, USE FLOOR LEVELING TRANSITION MATERIAL AND FEATHER OUT OVER 2'-0" TO PROVIDE AN EVEN TRANSITION. U.N.O. PRIOR TO FLOORING INSTALLATION, TEST CONCRETE SLAB FOR MOISTURE CONTENT BASED ON MANUFACTURERS RECOMMENDATION. FINISH CODE MANUFACTURER COLOR NO. COLOR FINISH/SHEEN TYPE REMARKS 7. MINIMAL TILE CUTS TO BE MADE IN THE MOST DISCRETE LOCATION ON WALLS. NO CUT TILES. FLOOR FINISH P-1 SHERWIN WILLIAMS SW8917 SHELL WHITE EGSHEL LOW VOC - LATEX TYPICAL THROUGHOUT U.N.O. 8. PROVIDE 24" HIGH BRUSHED ALUM. BACKSPLASH WALL PANELS AT ALL CUSTODIAL MOP SINKS. EXTEND 12" BEYOND FACE OF MOP SINK, CAULK ALL EDGES AND EPX-2 U.N.O. CORNERS. P-1A SHERWIN WILLIAMS SW8917 SHELL WHITE EGSHEL LOW VOC - EPOXY WALLS WET AREAS-SKIMCOAT WALLS-SEE FINISH PLAN FOR LOCATIONS & APPARATUS WALLS, TRIM AS NOTED 9. PAINT RECESSED ELECTRICAL PANELS TO MATCH ADJACENT WALL. P-1B SHERWIN WILLIAMS SW8917 SHELL WHITE GLOSS LOW VOC - EPOXY WALLS WET AREAS-BLOCK WALLS SEE FINISH PLAN FOR LOCATIONS FLOOR FINISH 10. ALL VINYL WALL BASE TO BE INSTALLED IN LENGTHS AS LONG AS FEASIBLE WITHOUT GAPS AT SEAMS. TOP OF BASE TO ALIGN WITH ADJACENT PIECE. P-2 SHERWIN WILLIAMS SW7624 SLATE TILE SATIN LOW VOC - LATEX ACCENT EPX-3 U.N.O. 11. PROVIDE CORNER GUARDS AT ALL EXPOSED EXTERIOR CORNERS IN CORRIDORS (2" WINGS TO 4' H AFF. REFER TO FIN. SCHEDULE FOR SPECIFICATIONS). P-2A SHERWIN WILLIAMS SW7624 SLATE TILE SEMIGLOSS LOW VOC - LATEX ALL HM/WD DOORS AND FRAME/ KITCHEN CABINETS U.N.O. 12. CONTRACTOR TO SECURE SIZE AND THICKNESS OF MATERIAL FROM MANUFACTURER. FLOOR FINISH 13. VERIFY FLOORING CONDITIONS PRIOR TO INSTALLATION. P-2B SHERWIN WILLIAMS SW7624 SLATE TILE FLAT LOW VOC - LATEX CEILING PLANKS U.N.O. FLOOR STRIPE 14. REFER TO FINISH SCHEDULE FOR DOOR PANEL AND WINDOW TRIM PAINT COLORS. P-3 SHERWIN WILLIAMS SW0068 COPEN BLUE EGSHEL LOW VOC - LATEX ACCENT VERTICAL PLANK WALLS EPX-4 U.N.O. 15. ALL PLAM CABINETS AND COUNTERTOPS TO HAVE MATCHING PVC EDGEBANDING U.N.O. P-3A SHERWIN WILLIAMS SW0068 COPEN BLUE EGSHEL LOW VOC - EPOXY RESTROOM WALLS FLOOR FINISH 16. ALL SWITCH AND OUTLET PLATES TO BE WHITE U.N.O. P-3B SHERWIN WILLIAMS SW0068 COPEN BLUE SEMIGLOSS LOW VOC - LATEX ISLAND CABINETS/PANELS COMPOSITE WOOD 17. ALL WINDOW SILLS TO BE SSM-1 U.N.O. P-4 SHERWIN WILLIAMS SW9617 BEACHCOMBER EGSHEL LOW VOC - LATEX ACCENT DECKING CW-1 U.N.O. 18. OUTLETS/ SWITCHPLATES SHALL NOT CUT THROUGH TOP OF EPOXY OR TOP CAP, MOVE DOWN AS REQ. 19. OUTLETS/ SWITCHPLATES SHALL NOT CUT THROUGH CORNER GUARD, MOVE AS REQ. P-5 SHERWIN WILLIAMS SW6479 DRIZZLE EGSHEL LOW VOC - LATEX ACCENT FLOOR FINISH P-6 SHERWIN WILLIAMS SW7007 CEILING BRIGHT WHITE FLAT LOW VOC - LATEX GYP CEILING U.N.O., STAIR CEILINGS RUBBER STAIR TREAD/RISER ABBREVIATION KEY P-6A SHERWIN WILLIAMS SW7007 CEILING BRIGHT WHITE EGSHEL LOW VOC - EPOXY RESTROOM GYP CEILING FLOOR RF-1/RF-2 U.N.O. P-7 SHERWIN WILLIAMS SW6793 BLUEBELL FLAT LOW VOC - EPOXY APPARATUS CEILING, AND AREAS NOTED ON FINISH PLAN FLOOR FINISH P-7B SHERWIN WILLIAMS SW6793 BLUEBELL EGSHEL LOW VOC - LATEX WALLS AS NOTED ON FINISH PLANS AND ELEVATIONS B - BASE (INCLUDES VINYL, WOOD, RUBBER, TILE, ETC.) RUBBER GYM FLOOR RF-3 U.N.O. P-8 SHERWIN WILLIAMS SW6793 BLUEBELL FLAT DRY FALL MECH ROOM OPEN CEILING C- - CONCRETE (SEALED, POLISHED, STAINED,BROOMED) P-9 SHERWIN WILLIAMS SW7602 INDIGO BATIK PREFINISHED PREFINISHED COLOR TO MATCH SW PRE-ENGINEERED METAL PAN STAIRS AND STRINGERS FLOOR FINISH RUBBER EPX - EPOXY SURFACES ROOF TILES RF-5 U.N.O. TILE CODE SCHEDULE GD - GRAIN DIRECTION FINISH CODE MANUFACTURER MFG. LINE INSTALLATION FINISH/SHEEN TYPE COLOR SIZE THICKNESS GROUT MANUF GROUT COLOR REMARKS FLOOR FINISH BROOMED LOGO - EPOXY LOGO T-1 TILE BAR COLORONE VERTICAL STACK MATTE/GLOSSY CEMENT OCEAN BLEND 2"X8" 10MM BOSTIK TRUCOLOR RAPID CURE TBD 1/8" GROUT JOINT CONCRETE C-2 U.N.O. LVT - LUXURY VINYL TILE PLASTIC LAMINATE CODE SCHEDULE FLOOR TRANSITIONS MDL- MOULDING FINISH CODE MANUFACTURER MFG. NO NAME FINISH/SHEEN FLAME SPREAD RATING REMARKS MISC - MISCELLANEOUS (GLASS/MIRRORS, TOILET PARTITIONS, HARDWARE ETC.) 1 LVT/RF TO EPX - D1 / A160 PL-1 WILSONART Y0643K-12 BRUSHED WALNUT SOFTGRAIN CLASS I PLAM.CASEWORK U.N.O. MTL - METAL PL-2 WILSONART 4943-38 CLASSIC LINEN FINE VELVET CLASS I COUNTERTOP IN DRY AREAS U.N.O. 2 LVT TO C - A1 / A160 P - PAINT PL-3 WILSONART 8208K-16 FAWN CYPRESS CASUAL RUSTIC CLASS I KITCHEN, DAY ROOM ACCENT PL-4 WILSONART D427-12 LINEN SOFTGRAIN CLASS I LOBBY CABINETS PL - PLASTIC LAMINATE 3 THICK RF TO LVT -A5 / A160 PL-5 WILSONART D307-60 HOLLYBERRY MATTE FINISH CLASS I BUNK ROOM CABINET INTERIOR FACE RF - RUBBER FINISH QUARTZ SURFACES CODE SCHEDULE 4 EPX TO EPX @ LOBBY - D5 / A160 SSM- SOLID SURFACE FINISH CODE MANUFACTURER TYPE COLOR EDGE PROFILE THICKNESS FLAME SPREAD RATING REMARKS ST - STONE (QUARTZ, GRANITE, MARBLE, ETC.) QTZ-1 WILSONART QUARTZ RIO UPANO Q3008 EASED EDGE 3 CM CLASS I WET AREA COUNTERTOPS U.N.O. 5 EPX TO EPX @ APPARATUS - G5 / A160 T - TILE (INCLUDES PORCELAIN, TILE, GLASS) SOLID SURFACE CODE SCHEDULE WD - WOOD FINISH CODE MANUFACTURER TYPE COLOR EDGE PROFILE THICKNESS FLAME SPREAD RATING REMARKS WP - WALL PROTECTION (INCLUDES CORNER GUARDS, FRP PANELS, ETC.) SSM-1 WILSONART SOLID SURFACE DESIGNER WHITE-D354SL EASED EDGE 1.5" CLASS I ALL WINDOW SILLS U.N.O. BBNB - BRUISED BUT NOT BROKEN WOOD CODE SCHEDULE FINISH CODE MANUFACTURER MFG. LINE STYLE NO. SIZE COLOR SPECIES FINISH/SHEEN FLAME SPREAD RATING REMARKS MDL-1 WINDSORONE OR EQ. HEADER CAP WOST001 7/16" X 1 1/16" PAINT PER ELEV. AS IS SMOOTH PRE PRIMED CLASS B LOBBY TRIM CAP MDL-2 WINDSORONE OR EQ. CASING WOST001 1" X 3" PAINT PER ELEV. AS IS SMOOTH PRE PRIMED CLASS B DOOR/WINDOW TRIM SEE ELEVATIONS FOR LOCATIONS MDL-3 WINDSORONE OR EQ. CASING S4SSE 1" X 4" PAINT PER ELEV. AS IS SMOOTH PRE PRIMED CLASS B DOOR/WINDOW TOP TRIM 5/8" 1/2" MDL-4 WINDSORONE OR EQ. FLAT STOCK CUSTOM CUT 1/2" X 6" PAINT PER RCP. AS IS SMOOTH PRE PRIMED CLASS B CEILING TRIM PIECE WD-1 ANTHOLOGY WOODS OR EQ SURFRIDER REDWOOD T&G PROFILE 5/8" THICK X6 1/2"W X1'-5' RANDOM L WHITE SEQUOIA SEMPERVIRENS LOW VOC FINISH CLASS A FLAME RETARDANT CUSTOM IMAGE TO BE ADDED AFTER INSTALLATION 3/4" WD-2 WINDSORONE SHIPLAP WORS6 3/4" X 5 1/2" X 16' PAINT AS SCHED. AS IS SMOOTH SIDE OUT CLASS B VERTICAL APPLICATION AS SHOWN IN ELEVATIONS 3/8" "4/3 WALL PROTECTION CODE SCHEDULE 1" FINISH CODE MANUFACTURER MFG. LINE STYLE NO. COLOR SIZE FLAME SPREAD RATING REMARKS JOINT SIDEWALL OF JOINT 1" EASED EDGES WP-1 IN PRO HIGH IMPACT CORNER GUARDS 160 FEATHER 0238 4'H X 2" WINGS 90DEGREE CLASS I ALL EXPOSED OUTSIDE CORNERS U.NO. 2ND FL "2/1 WP-2 IN PRO HIGH IMPACT CORNER GUARDS 160 STORM CLOUD 0372 4'H X 2" WINGS 90DEGREE CLASS I 2ND FL WHERE NOTED 6 "6 1/4" JOINT W. "2/1 BASE CODE SCHEDULE 5 JOINT FILLER (JFS) "4 FINISH CODE MANUFACTURER MFG. LINE STYLE NO. COLOR SIZE THICKNESS FLAME SPREAD RATING REMARKS EPOXY, EPX-4 1/2" "3 EPOXY, EPX-1 B-1 JOHNSONITE / TARKETT MILLWORK- MANDALAY MW-58-H6 WINDSOR BLUE 6" .375" CLASS I TYP. U.N.O. CONCRETE STRUCTURE B-2 JOHNSONITE / TARKETT MILLWORK MANDALAY MW-55-H SILVER GREY 4.5" .375" CLASS I GYM "8/1 BACKER ROD B-3 JOHNSONITE / TARKETT 4" COVE BASE DC-58 W/ TOE WINDSOR BLUE 4" .125" CLASS I AS NOTED ON FINISH PLANS "4/3 1 EPOXY FLOORING/WALL CODE SCHEDULE 3/8" MDL-1 MDL-2 MDL-3 WD-1 WD-2 MDL-4 FINISH CODE MANUFACTURER MFG. LINE COLOR THICKNESS FLAME SPREAD RATING REP CONTACT REMARKS EPX-1 ELITE CRETE SYSTEMS WOOD LOOK OVERLAY CUSTOM PER RENDERING 1/8" CLASS I JON LOPEZ 239.898.8361 WITH 6" INTEGRAL BASE U.N.O./ ADD COVE STRIP EPX-2 ELITE CRETE SYSTEMS FLAKE CUSTOM BLEND CUSTOM FLAKE FB501 1/8" CLASS I JON LOPEZ 239.898.8361 INTERIOR MOULDING LEGEND G5 TRANS. DETAIL - EPX TO EPX @ APPARATUS EPX-3 ELITE CRETE SYSTEMS HERMETIC QUARTZ QB-1002 TUNDRA 1/8" CLASS I JON LOPEZ 239.898.8361 WITH 6" INTEGRAL BASE U.N.O./ ADD COVE STRIP/ ADD SCHLUTER JTRIM CAP EPX-4 ELITE CRETE SYSTEMS FLAKE F5101 SEASPRAY 1/8" CLASS I JON LOPEZ 239.898.8361 2" STRIPE ON FLOOR 12" = 1'-0" LOGO ELITE CRETE SYSTEMS CUSTOM LOGO PER OWNER LOGO 1/8" CLASS I JON LOPEZ 239.898.8361 CUSTOM LOGO IMAGE PER OWNER LUXURY VINYL TILE CODE SCHEDULE FINISH CODE MANUFACTURER MFG. LINE STYLE NAME STYLE NO. COLOR SIZE THICKNESS INSTALLATION FLAME SPREAD RATING REMARKS LVT MANNINGTON COMMERCIAL SPACIA WOOD SS5W2539 WORN ASH 7.25" X 48" 2.5 MM STAGGERED TYPE B CLASS III ADHESIVE SHOULD BE MOISTURE LOC OR AMTICO RP-18 RUBBER CODE SCHEDULE OF DOOR SCHLUTER RENO-SCHIENE-AE OF DOOR SCHLUTER RENO-SCHIENE-AE FINISH CODE MANUFACTURER MFG. LINE TYPE COLOR SIZE THICKNESS FLAME SPREAD RATING REMARKS RF-1 JOHNSONITE / TARKETT COLOR SPLASH RTSP VK5 SQ – RAISED SQUARE CAPE HATTERAS 24" X 24" .125" CLASS I STAIR LANDINGS LUXURY VINYL TILE OR RB RF-2 JOHNSONITE / TARKETT COLOR SPLASH TREADS WITH RISERS VIRNSQTR- RAISED SQ. SURFACE- ONE PIECE TREAD/RISER CAPE HATTERAS 24" X 24" .125" CLASS I STAIR TREAD RISER AND NOSING W. GREY GRIP TAPE EPOXY AS SCHEDULED EPOXY RF-3 ECORE INTERNATIONAL MOXIE BEAST RUBBER FLOOR TILE 1500 CREMA 24" X 24" 10MM CLASS I FITNESS CENTER EPOXY RF-4 ECORE INTERNATIONAL ECO SURFACES CLASSIC WAINSCOTT 2607 BEACH GLASS 48" ROLL 3.2MM CLASS I WAINSCOTT GYM WALLS RF-5 ECORE INTERNATIONAL PLAYGUARD RUBBER FLOOR TILE PG79 LICORICE 24" X 24" 63.5MM CLASS I ROOFTOP TRAINING CONCRETE STRUCTURE CONCRETE STRUCTURE CONCRETE CODE SCHEDULE FINISH CODE MANUFACTURER MFG. LINE COLOR EDGE PROFILE THICKNESS SEALER FLAME SPREAD RATING REMARKS C-1 TRUEFORM CONCRETE CLASSIC-2023HB7 PEWTER EASED EDGE 1 1/2" Yes CLASS I OUTDOOR COUNTERTOP C-2 BROOM FINISHED CONCRETE N/A N/A N/A Yes CLASS I OUTDOOR USE MISCELLANEOUS CODE SCHEDULE FINISH CODE MANUFACTURER/ARTIST MFG. LINE STYLE NO. TYPE SIZE COLOR OR IMAGE REMARKS D1 TRANS. DETAIL - LVT/RB TO EPX D5 TRANS. DETAIL - EPX TO EPX @ LOBBY HDW-1 AMEROCK ALLISON BY AMEROCK BP36852G10 REVOLVE CABINET PULL 3-3/4" CENTER TO CENTER SATIN NICKEL HARDWARE FOR KITCHEN & RESTROOMS HDW-2 AMEROCK EVERYDAY BASICS 943SCH EVERYDAY HERITAGE 4" CENTER TO CENTER BRUSHED CHROME HARDWARE FOR ALL AREAS U.N.O. 12" = 1'-0" 12" = 1'-0" MISC-1 TBD -LOCAL ARTIST N/A CUSTOM IMAGE PAINTED GRAPHIC-TO BE ALTERED FROM IMAGE FULL H & WALL TO WALL SANIBEL ISLAND MAP REFER TO REFERENCE IMAGE FOR IMAGE INTENT.-ID TO COORDINATE INSPIRATION WITH CONTRACTOR &VENDOR THICK RUBBER MISC-2 THE MIRROR COMPANY OR EQ FRAMELESS CUT TO SIZE TEMPERED 4'WX6'H N/A REFER TO INTERIOR ELEV. FOR ACTUAL SIZING FLOORING MISC-3 HUNTER DOUGLAS OR EQ. ROLLER SHADE FR- DUAL INSIDE MOUNT SHEARWEAVE 7000 PER WINDOW WHITE/ OYSTER BEADED LOOP,BUNK ROOMS-INSIDE MOUNT W/ MATCHING FACIA TARKETT CRS-55-A MANUAL BLACKOUT/3%OPENNESS, SHEARWEAVE PERFORMANCE OF DOOR LUXURY VINYL TILE OR RB MISC-4 HUNTER DOUGLAS OR EQ. ROLLER SHADE FR-SINGLE INSIDE MOUNT, 3% OPENNESS,SHEARWEAVE PER WINDOW OYSTER BEADED LOOP,ALL OTHER WINDOWS- INSIDE MOUNT W/ MATCHING OF DOOR TARKETT RRS-55-D 7/8" AS SCHEDULED MANUAL PERFORMANCE FACIA MISC-5 TARKETT JOHNSONITE COVE CAP SCC-58-B N/A MOONROCK TOP OF RUBBER WAINSCOTT IN GYM. "4/1 "8/3 LUXURY VINYL TILE MISC-6 AZEK EXTERIORS OR EQ TONGUE & GROOVE SHIPLAP 1" x 6” MATTE WHITE LOBBY SEALED AS SCHEDULED MISC-7 MDC OR EQ. DIGITAL STUDIO-DIGITAL CUSTOM IMAGE VINYL WALLCOVERING FULL H & WALL TO WALL NAUTICAL MAP REFER TO REFERENCE IMAGE FOR IMAGE INTENT.-ID TO COORDINATE CONCRETE IMAGING WITH CONTRACTOR &VENDOR MISC-8 TBD -LOCAL ARTIST N/A CUSTOM IMAGE PAINTED GRAPHIC- FINEARTAMERICA.COM-IRA FULL H & WALL TO WALL SANIBEL LIGHTHOUSE REFER TO REFERENCE IMAGE FOR IMAGE INTENT.-ID TO COORDINATE CONCRETE STRUCTURE SHANDLER WITH CONTRACTOR &VENDOR MISC-9 MDC OR EQ. DIGITAL STUDIO-DIGITAL CUSTOM IMAGE VINYL FULL H & WALL TO WALL SCORPION- ADOBE STOCK #288256816 FINAL IMAGE TO BE CHOOSEN BY OWNER-ID TO COORDINATE WITH IMAGING CONTRACTOR &VENDOR MISC-10 CORNELL INNOVATIVE DOOR SOLUTIONS IMAGE MATCH CUSTOM IMAGE CUSTOM GRAPHIC ON ROLLING GRILL TBD W/MANF. BRUISED BUT NOT BROKEN LOGO IMAGE PLACEMENT TO BE COORDINATED WITH VENDOR AND INTERIOR DESIGNER MISC-11 WYOMING METALSMITHS WROUGHT IRON CUSTOM IMAGE IRON ROPE HANDRAIL TBD WROUGHT IRON SIZING PER CODE REQUIREMENTS HANDRAILS MISC-12 MATT HATTFIELD ART BRICK WALL GRAPHIC CUSTOM IMAGE CAST VINYL GLOSSY-WITH LAMINATION SEE ELEV. TBD BY OWNER FINAL IMAGE TO BE CHOOSEN BY OWNER-ID TO COORDINATE WITH A1 TRANS. DETAIL - LVT TO C A5 TRANS. DETAIL - LVT TO THICK RUBBER CONTRACTOR &VENDOR SKIM-2 STUCCO SKIM COAT TBD SMOOTH STAIR TOWER CENTER SHAFT 12" = 1'-0" 12" = 1'-0" | [6 empty] | CEILING CODE SCHEDULE
[8 empty] | FINISH CODE |  | MANUFACTURER |  |  | MFG. LINE | [5 empty] | STYLE NO. | [7 empty] | COLOR | [12 empty] | SIZE | [17 empty] | INSTALLATION | [6 empty] | FLAME SPREAD RATING | [5 empty] | REMARKS
[8 empty] | A1 C2 |  | ROCKFON MOZ |  |  | SONAR CORRUGATED PATINA COLLECTION | [5 empty] | SLN16200 -.95 NRC SLN16200 -.95 NRC | [7 empty] | WHITE/ WHITE GRID 111A POLYCOAT FLAT | [12 empty] | 2 'X 2' X 1" 44 1/2″ x 96″X 5/8" | [17 empty] | SQ. TEGULAR NARROW DIRECT GLUE | [6 empty] | CLASS A CLASS A | [5 empty] | NO SUBSTITUTIONS NO SUBSTITUTIONS
[8 empty] | S1 |  | BARRON DESIGNS |  |  | FAUX WOOD BEAMS | [5 empty] | BAOBM- HERITAGE- 3 SIDED | [7 empty] | TOASTED MARSHMALLOW 4410 | [12 empty] | 12"W X 4"D X L VARIES (REFER TO RCP) | [17 empty] | PER MANF. INSTRUCTIONS | [6 empty] | CLASS A
S2 WINDSORONE BEADBOARD SPBC6 TOASTED MARSHMALLOW 4410 23/32" x 5-1/2" X 16' PER MANF. INSTRUCTIONS CLASS A
PAINT CODE SCHEDULE
[8 empty] | FINISH CODE |  | MANUFACTURER |  |  | COLOR NO. |  |  | COLOR | [8 empty] | FINISH/SHEEN |  |  |  |  | TYPE | [18 empty] | REMARKS
[8 empty] | P-1 |  | SHERWIN WILLIAMS |  |  | SW8917 |  |  | SHELL WHITE | [8 empty] | EGSHEL |  |  |  |  | LOW VOC - LATEX | [18 empty] | TYPICAL THROUGHOUT U.N.O.
[8 empty] | P-1A |  | SHERWIN WILLIAMS |  |  | SW8917 |  |  | SHELL WHITE | [8 empty] | EGSHEL |  |  |  |  | LOW VOC - EPOXY | [18 empty] | WALLS WET AREAS-SKIMCOAT WALLS-SEE FINISH PLAN FOR LOCATIONS & APPARATUS WALLS, TRIM AS NOTED
[8 empty] | P-1B |  | SHERWIN WILLIAMS |  |  | SW8917 |  |  | SHELL WHITE | [8 empty] | GLOSS |  |  |  |  | LOW VOC - EPOXY | [18 empty] | WALLS WET AREAS-BLOCK WALLS SEE FINISH PLAN FOR LOCATIONS
[8 empty] | P-2 |  | SHERWIN WILLIAMS |  |  | SW7624 |  |  | SLATE TILE | [8 empty] | SATIN |  |  |  |  | LOW VOC - LATEX | [18 empty] | ACCENT
[8 empty] | P-2A |  | SHERWIN WILLIAMS |  |  | SW7624 |  |  | SLATE TILE | [8 empty] | SEMIGLOSS |  |  |  |  | LOW VOC - LATEX | [18 empty] | ALL HM/WD DOORS AND FRAME/ KITCHEN CABINETS U.N.O.
[8 empty] | P-2B |  | SHERWIN WILLIAMS |  |  | SW7624 |  |  | SLATE TILE | [8 empty] | FLAT |  |  |  |  | LOW VOC - LATEX | [18 empty] | CEILING PLANKS U.N.O.
[8 empty] | P-3 |  | SHERWIN WILLIAMS |  |  | SW0068 |  |  | COPEN BLUE | [8 empty] | EGSHEL |  |  |  |  | LOW VOC - LATEX | [18 empty] | ACCENT VERTICAL PLANK WALLS
[8 empty] | P-3A P-3B |  | SHERWIN WILLIAMS SHERWIN WILLIAMS |  |  | SW0068 SW0068 |  |  | COPEN BLUE COPEN BLUE | [8 empty] | EGSHEL SEMIGLOSS |  |  |  |  | LOW VOC - EPOXY LOW VOC - LATEX | [18 empty] | RESTROOM WALLS ISLAND CABINETS/PANELS
[8 empty] | P-4 P-5 |  | SHERWIN WILLIAMS SHERWIN WILLIAMS |  |  | SW9617 SW6479 |  |  | BEACHCOMBER DRIZZLE | [8 empty] | EGSHEL EGSHEL |  |  |  |  | LOW VOC - LATEX LOW VOC - LATEX | [18 empty] | ACCENT ACCENT
[8 empty] | P-6 |  | SHERWIN WILLIAMS |  |  | SW7007 |  |  | CEILING BRIGHT WHITE | [8 empty] | FLAT |  |  |  |  | LOW VOC - LATEX | [18 empty] | GYP CEILING U.N.O., STAIR CEILINGS
[8 empty] | P-6A |  | SHERWIN WILLIAMS |  |  | SW7007 |  |  | CEILING BRIGHT WHITE | [8 empty] | EGSHEL |  |  |  |  | LOW VOC - EPOXY | [18 empty] | RESTROOM GYP CEILING
[8 empty] | P-7 |  | SHERWIN WILLIAMS |  |  | SW6793 |  |  | BLUEBELL | [8 empty] | FLAT |  |  |  |  | LOW VOC - EPOXY | [18 empty] | APPARATUS CEILING, AND AREAS NOTED ON FINISH PLAN
[8 empty] | P-7B |  | SHERWIN WILLIAMS |  |  | SW6793 |  |  | BLUEBELL | [8 empty] | EGSHEL |  |  |  |  | LOW VOC - LATEX | [18 empty] | WALLS AS NOTED ON FINISH PLANS AND ELEVATIONS
[8 empty] | P-8 |  | SHERWIN WILLIAMS |  |  | SW6793 |  |  | BLUEBELL | [8 empty] | FLAT |  |  |  |  | DRY FALL | [18 empty] | MECH ROOM OPEN CEILING
[8 empty] | P-9 |  | SHERWIN WILLIAMS |  |  | SW7602 |  |  | INDIGO BATIK | [8 empty] | PREFINISHED |  |  |  |  | PREFINISHED COLOR TO MATCH SW | [18 empty] | PRE-ENGINEERED METAL PAN STAIRS AND STRINGERS
TILE CODE SCHEDULE
[8 empty] | FINISH CODE |  | MANUFACTURER |  |  | MFG. LINE |  |  | INSTALLATION | [5 empty] | FINISH/SHEEN | [5 empty] | TYPE |  |  |  |  | COLOR | [5 empty] | SIZE | [7 empty] | THICKNESS |  |  |  |  | GROUT MANUF | [11 empty] | GROUT COLOR | [5 empty] | REMARKS
[8 empty] | T-1 |  | TILE BAR |  |  | COLORONE |  |  | VERTICAL STACK | [5 empty] | MATTE/GLOSSY | [5 empty] | CEMENT |  |  |  |  | OCEAN BLEND | [5 empty] | 2"X8" | [7 empty] | 10MM |  |  |  |  | BOSTIK TRUCOLOR RAPID CURE | [11 empty] | TBD | [5 empty] | 1/8" GROUT JOINT
PLASTIC LAMINATE CODE SCHEDULE
[8 empty] | FINISH CODE |  | MANUFACTURER |  |  | MFG. NO |  |  | NAME | [8 empty] | FINISH/SHEEN | [6 empty] | FLAME SPREAD RATING | [11 empty] | REMARKS
[8 empty] | PL-1 |  | WILSONART |  |  | Y0643K-12 |  |  | BRUSHED WALNUT | [8 empty] | SOFTGRAIN | [6 empty] | CLASS I | [11 empty] | PLAM.CASEWORK U.N.O.
[8 empty] | PL-2 |  | WILSONART |  |  | 4943-38 |  |  | CLASSIC LINEN | [8 empty] | FINE VELVET | [6 empty] | CLASS I | [11 empty] | COUNTERTOP IN DRY AREAS U.N.O.
[8 empty] | PL-3 |  | WILSONART |  |  | 8208K-16 |  |  | FAWN CYPRESS | [8 empty] | CASUAL RUSTIC | [6 empty] | CLASS I | [11 empty] | KITCHEN, DAY ROOM ACCENT
[8 empty] | PL-4 |  | WILSONART |  |  | D427-12 |  |  | LINEN | [8 empty] | SOFTGRAIN | [6 empty] | CLASS I | [11 empty] | LOBBY CABINETS
[8 empty] | PL-5 |  | WILSONART |  |  | D307-60 |  |  | HOLLYBERRY | [8 empty] | MATTE FINISH | [6 empty] | CLASS I | [11 empty] | BUNK ROOM CABINET INTERIOR FACE
QUARTZ SURFACES CODE SCHEDULE
[8 empty] | FINISH CODE |  | MANUFACTURER |  |  | TYPE |  |  | COLOR | [8 empty] | EDGE PROFILE | [9 empty] | THICKNESS | [5 empty] | FLAME SPREAD RATING | [12 empty] | REMARKS
[8 empty] | QTZ-1 |  | WILSONART |  |  | QUARTZ |  |  | RIO UPANO Q3008 | [8 empty] | EASED EDGE | [9 empty] | 3 CM | [5 empty] | CLASS I | [12 empty] | WET AREA COUNTERTOPS U.N.O.
SOLID SURFACE CODE SCHEDULE
[8 empty] | FINISH CODE |  | MANUFACTURER |  |  | TYPE |  |  | COLOR | [8 empty] | EDGE PROFILE | [10 empty] | THICKNESS | [7 empty] | FLAME SPREAD RATING | [8 empty] | REMARKS
[8 empty] | SSM-1 |  | WILSONART |  |  | SOLID SURFACE |  |  | DESIGNER WHITE-D354SL | [8 empty] | EASED EDGE | [10 empty] | 1.5" | [7 empty] | CLASS I | [8 empty] | ALL WINDOW SILLS U.N.O.
WOOD CODE SCHEDULE
[8 empty] | FINISH CODE |  | MANUFACTURER |  |  | MFG. LINE |  |  | STYLE NO. |  |  |  |  | SIZE | [12 empty] | COLOR | [10 empty] | SPECIES | [9 empty] | FINISH/SHEEN | [7 empty] | FLAME SPREAD RATING | [5 empty] | REMARKS
[8 empty] | MDL-1 |  | WINDSORONE OR EQ. |  |  | HEADER CAP |  |  | WOST001 |  |  |  |  | 7/16" X 1 1/16" | [12 empty] | PAINT PER ELEV. | [10 empty] | AS IS | [9 empty] | SMOOTH PRE PRIMED | [7 empty] | CLASS B | [5 empty] | LOBBY TRIM CAP
[8 empty] | MDL-2 |  | WINDSORONE OR EQ. |  |  | CASING |  |  | WOST001 |  |  |  |  | 1" X 3" | [12 empty] | PAINT PER ELEV. | [10 empty] | AS IS | [9 empty] | SMOOTH PRE PRIMED | [7 empty] | CLASS B | [5 empty] | DOOR/WINDOW TRIM SEE ELEVATIONS FOR LOCATIONS
[8 empty] | MDL-3 |  | WINDSORONE OR EQ. |  |  | CASING |  |  | S4SSE |  |  |  |  | 1" X 4" | [12 empty] | PAINT PER ELEV. | [10 empty] | AS IS | [9 empty] | SMOOTH PRE PRIMED | [7 empty] | CLASS B | [5 empty] | DOOR/WINDOW TOP TRIM
| 5/8" 1/2" 3/4" 3/8" "4/3 1" 1" "2/1 6 "6 "2/1 5 "4 1/2" "3 "8/1 "4/3 1 3/8" MDL-1 MDL-2 MDL-3 WD-1 WD-2 MDL-4 |  |  | JOINT SIDEWALL OF JOINT EASED EDGES 1/4" JOINT W. JOINT FILLER (JFS) EPOXY, EPX-4 EPOXY, EPX-1 CONCRETE STRUCTURE BACKER ROD
[8 empty] | MDL-4 |  | WINDSORONE OR EQ. |  |  | FLAT STOCK |  |  | CUSTOM CUT |  |  |  |  | 1/2" X 6" | [12 empty] | PAINT PER RCP. | [10 empty] | AS IS | [9 empty] | SMOOTH PRE PRIMED | [7 empty] | CLASS B | [5 empty] | CEILING TRIM PIECE
[8 empty] | WD-1 |  | ANTHOLOGY WOODS OR EQ |  |  | SURFRIDER REDWOOD |  |  | T&G PROFILE |  |  |  |  | 5/8" THICK X6 1/2"W X1'-5' RANDOM L | [12 empty] | WHITE | [10 empty] | SEQUOIA SEMPERVIRENS | [9 empty] | LOW VOC FINISH | [7 empty] | CLASS A FLAME RETARDANT | [5 empty] | CUSTOM IMAGE TO BE ADDED AFTER INSTALLATION
[8 empty] | WD-2 |  | WINDSORONE |  |  | SHIPLAP |  |  | WORS6 |  |  |  |  | 3/4" X 5 1/2" X 16' | [12 empty] | PAINT AS SCHED. | [10 empty] | AS IS | [9 empty] | SMOOTH SIDE OUT | [7 empty] | CLASS B | [5 empty] | VERTICAL APPLICATION AS SHOWN IN ELEVATIONS
WALL PROTECTION CODE SCHEDULE
[8 empty] | FINISH CODE |  | MANUFACTURER |  |  | MFG. LINE | [7 empty] | STYLE NO. |  |  |  | COLOR | [10 empty] | SIZE | [13 empty] | FLAME SPREAD RATING | [9 empty] | REMARKS
[8 empty] | WP-1 |  | IN PRO |  |  | HIGH IMPACT CORNER GUARDS | [7 empty] | 160 |  |  |  | FEATHER 0238 | [10 empty] | 4'H X 2" WINGS 90DEGREE | [13 empty] | CLASS I | [9 empty] | ALL EXPOSED OUTSIDE CORNERS U.NO. 2ND FL
[8 empty] | WP-2 |  | IN PRO |  |  | HIGH IMPACT CORNER GUARDS | [7 empty] | 160 |  |  |  | STORM CLOUD 0372 | [10 empty] | 4'H X 2" WINGS 90DEGREE | [13 empty] | CLASS I | [9 empty] | 2ND FL WHERE NOTED
BASE CODE SCHEDULE
[8 empty] | FINISH CODE |  | MANUFACTURER |  |  | MFG. LINE |  |  | STYLE NO. |  |  |  | COLOR | [5 empty] | SIZE |  |  |  |  | THICKNESS | [5 empty] | FLAME SPREAD RATING | [10 empty] | REMARKS
[8 empty] | B-1 |  | JOHNSONITE / TARKETT |  |  | MILLWORK- MANDALAY |  |  | MW-58-H6 |  |  |  | WINDSOR BLUE | [5 empty] | 6" |  |  |  |  | .375" | [5 empty] | CLASS I | [10 empty] | TYP. U.N.O.
[8 empty] | B-2 |  | JOHNSONITE / TARKETT |  |  | MILLWORK MANDALAY |  |  | MW-55-H |  |  |  | SILVER GREY | [5 empty] | 4.5" |  |  |  |  | .375" | [5 empty] | CLASS I | [10 empty] | GYM
[8 empty] | B-3 |  | JOHNSONITE / TARKETT |  |  | 4" COVE BASE |  |  | DC-58 W/ TOE |  |  |  | WINDSOR BLUE | [5 empty] | 4" |  |  |  |  | .125" | [5 empty] | CLASS I | [10 empty] | AS NOTED ON FINISH PLANS
EPOXY FLOORING/WALL CODE SCHEDULE
[8 empty] | FINISH CODE |  | MANUFACTURER |  |  | MFG. LINE |  |  | COLOR | [8 empty] | THICKNESS |  |  |  | FLAME SPREAD RATING | [11 empty] | REP CONTACT | [13 empty] | REMARKS
|  | INTERIOR MOULDING LEGEND |  | G5 |  |  | TRANS. DETAIL - EPX TO EPX @ APPARATUS
[8 empty] | EPX-1 |  | ELITE CRETE SYSTEMS |  |  | WOOD LOOK OVERLAY |  |  | CUSTOM PER RENDERING | [8 empty] | 1/8" |  |  |  | CLASS I | [11 empty] | JON LOPEZ 239.898.8361 | [13 empty] | WITH 6" INTEGRAL BASE U.N.O./ ADD COVE STRIP
[8 empty] | EPX-2 |  | ELITE CRETE SYSTEMS |  |  | FLAKE CUSTOM BLEND |  |  | CUSTOM FLAKE FB501 | [8 empty] | 1/8" |  |  |  | CLASS I | [11 empty] | JON LOPEZ 239.898.8361
[8 empty] | EPX-3 |  | ELITE CRETE SYSTEMS |  |  | HERMETIC QUARTZ |  |  | QB-1002 TUNDRA | [8 empty] | 1/8" |  |  |  | CLASS I | [11 empty] | JON LOPEZ 239.898.8361 | [13 empty] | WITH 6" INTEGRAL BASE U.N.O./ ADD COVE STRIP/ ADD SCHLUTER JTRIM CAP
[8 empty] | EPX-4 |  | ELITE CRETE SYSTEMS |  |  | FLAKE |  |  | F5101 SEASPRAY | [8 empty] | 1/8" |  |  |  | CLASS I | [11 empty] | JON LOPEZ 239.898.8361 | [13 empty] | 2" STRIPE ON FLOOR
12" = 1'-0"
[8 empty] | LOGO |  | ELITE CRETE SYSTEMS |  |  | CUSTOM LOGO |  |  | PER OWNER LOGO | [8 empty] | 1/8" |  |  |  | CLASS I | [11 empty] | JON LOPEZ 239.898.8361 | [13 empty] | CUSTOM LOGO IMAGE PER OWNER
|  |  |  | OF DOOR SCHLUTER RENO-SCHIENE-AE EPOXY EPOXY CONCRETE STRUCTURE |  |  |  | LUXURY VINYL TILE CODE SCHEDULE
F E
[8 empty] | FINISH CODE |  | MANUFACTURER |  |  | MFG. LINE |  |  | STYLE NAME | [8 empty] | STYLE NO. |  |  |  | COLOR | [13 empty] | SIZE | [5 empty] | THICKNESS | [5 empty] | INSTALLATION | [5 empty] | FLAME SPREAD RATING |  |  |  |  | REMARKS
[8 empty] | LVT |  | MANNINGTON COMMERCIAL |  |  | SPACIA |  |  | WOOD | [8 empty] | SS5W2539 |  |  |  | WORN ASH | [13 empty] | 7.25" X 48" | [5 empty] | 2.5 MM | [5 empty] | STAGGERED | [5 empty] | TYPE B CLASS III |  |  |  |  | ADHESIVE SHOULD BE MOISTURE LOC OR AMTICO RP-18
RUBBER CODE SCHEDULE
[8 empty] | FINISH CODE | MANUFACTURER |  | MFG. LINE | [5 empty] | TYPE | [19 empty] | COLOR | [13 empty] | SIZE | [5 empty] | THICKNESS |  |  |  |  | FLAME SPREAD RATING |  |  |  |  | REMARKS
[8 empty] | RF-1 | JOHNSONITE / TARKETT |  | COLOR SPLASH | [5 empty] | RTSP VK5 SQ – RAISED SQUARE | [19 empty] | CAPE HATTERAS | [13 empty] | 24" X 24" | [5 empty] | .125" |  |  |  |  | CLASS I |  |  |  |  | STAIR LANDINGS
[8 empty] | RF-2 | JOHNSONITE / TARKETT |  | COLOR SPLASH TREADS WITH RISERS | [5 empty] | VIRNSQTR- RAISED SQ. SURFACE- ONE PIECE TREAD/RISER | [19 empty] | CAPE HATTERAS | [13 empty] | 24" X 24" | [5 empty] | .125" |  |  |  |  | CLASS I |  |  |  |  | STAIR TREAD RISER AND NOSING W. GREY GRIP TAPE
[8 empty] | RF-3 | ECORE INTERNATIONAL |  | MOXIE BEAST | [5 empty] | RUBBER FLOOR TILE | [19 empty] | 1500 CREMA | [13 empty] | 24" X 24" | [5 empty] | 10MM |  |  |  |  | CLASS I |  |  |  |  | FITNESS CENTER
[8 empty] | RF-4 | ECORE INTERNATIONAL |  | ECO SURFACES CLASSIC | [5 empty] | WAINSCOTT | [19 empty] | 2607 BEACH GLASS | [13 empty] | 48" ROLL | [5 empty] | 3.2MM |  |  |  |  | CLASS I |  |  |  |  | WAINSCOTT GYM WALLS
[8 empty] | RF-5 | ECORE INTERNATIONAL |  | PLAYGUARD | [5 empty] | RUBBER FLOOR TILE | [19 empty] | PG79 LICORICE | [13 empty] | 24" X 24" | [5 empty] | 63.5MM |  |  |  |  | CLASS I |  |  |  |  | ROOFTOP TRAINING
CONCRETE CODE SCHEDULE
[8 empty] | FINISH CODE | MANUFACTURER |  |  | MFG. LINE |  |  | COLOR | [8 empty] | EDGE PROFILE | [7 empty] | THICKNESS | [5 empty] | SEALER | [7 empty] | FLAME SPREAD RATING | [9 empty] | REMARKS
[8 empty] | C-1 | TRUEFORM CONCRETE |  |  | CLASSIC-2023HB7 |  |  | PEWTER | [8 empty] | EASED EDGE | [7 empty] | 1 1/2" | [5 empty] | Yes | [7 empty] | CLASS I | [9 empty] | OUTDOOR COUNTERTOP
[8 empty] | C-2 | BROOM FINISHED CONCRETE |  |  | N/A |  |  | N/A | [8 empty] | N/A | [13 empty] | Yes | [7 empty] | CLASS I | [9 empty] | OUTDOOR USE
MISCELLANEOUS CODE SCHEDULE
| D1 | TRANS. DETAIL - LVT/RB TO EPX |  | D5 |  |  | TRANS. DETAIL - EPX TO EPX @ LOBBY
[8 empty] | FINISH CODE | MANUFACTURER/ARTIST |  |  |  |  | MFG. LINE |  |  |  | STYLE NO. |  |  |  |  | TYPE | [18 empty] | SIZE | [16 empty] | COLOR OR IMAGE | [8 empty] | REMARKS
[8 empty] | HDW-1 | AMEROCK |  |  |  |  | ALLISON BY AMEROCK |  |  |  | BP36852G10 |  |  |  |  | REVOLVE CABINET PULL | [18 empty] | 3-3/4" CENTER TO CENTER | [16 empty] | SATIN NICKEL | [8 empty] | HARDWARE FOR KITCHEN & RESTROOMS
[8 empty] | HDW-2 | AMEROCK |  |  |  |  | EVERYDAY BASICS |  |  |  | 943SCH |  |  |  |  | EVERYDAY HERITAGE | [18 empty] | 4" CENTER TO CENTER | [16 empty] | BRUSHED CHROME | [8 empty] | HARDWARE FOR ALL AREAS U.N.O.
| 12" = 1'-0" |  |  | 12" = 1'-0"
[8 empty] | MISC-1 | TBD -LOCAL ARTIST |  |  |  |  | N/A |  |  |  | CUSTOM IMAGE |  |  |  |  | PAINTED GRAPHIC-TO BE ALTERED FROM IMAGE INSPIRATION | [18 empty] | FULL H & WALL TO WALL | [16 empty] | SANIBEL ISLAND MAP | [8 empty] | REFER TO REFERENCE IMAGE FOR IMAGE INTENT.-ID TO COORDINATE WITH CONTRACTOR &VENDOR
| OF DOOR TARKETT RRS-55-D LUXURY VINYL TILE SEALED AS SCHEDULED CONCRETE CONCRETE STRUCTURE |  |  |  |  | BER OF D
[5 empty] | THICK RUB | BER |  | MISC-2 | THE MIRROR COMPANY OR EQ |  |  |  |  | FRAMELESS |  |  |  | CUT TO SIZE |  |  |  |  | TEMPERED | [18 empty] | 4'WX6'H | [16 empty] | N/A | [8 empty] | REFER TO INTERIOR ELEV. FOR ACTUAL SIZING
[5 empty] | FLOORING |  |  | MISC-3 | HUNTER DOUGLAS OR EQ. |  |  |  |  | ROLLER SHADE FR- DUAL MANUAL | [8 empty] | INSIDE MOUNT SHEARWEAVE 7000 BLACKOUT/3%OPENNESS, SHEARWEAVE PERFORMANCE | [18 empty] | PER WINDOW | [16 empty] | WHITE/ OYSTER | [8 empty] | BEADED LOOP,BUNK ROOMS-INSIDE MOUNT W/ MATCHING FACIA
[8 empty] | MISC-4 | HUNTER DOUGLAS OR EQ. |  |  |  |  | ROLLER SHADE FR-SINGLE MANUAL | [8 empty] | INSIDE MOUNT, 3% OPENNESS,SHEARWEAVE PERFORMANCE | [18 empty] | PER WINDOW | [16 empty] | OYSTER | [8 empty] | BEADED LOOP,ALL OTHER WINDOWS- INSIDE MOUNT W/ MATCHING FACIA
[8 empty] | MISC-5 | TARKETT |  |  |  |  | JOHNSONITE COVE CAP | [8 empty] | SCC-58-B | [18 empty] | N/A | [16 empty] | MOONROCK | [8 empty] | TOP OF RUBBER WAINSCOTT IN GYM.
[8 empty] | MISC-6 | AZEK EXTERIORS OR EQ |  |  |  |  | TONGUE & GROOVE | [8 empty] | SHIPLAP | [18 empty] | 1" x 6” | [16 empty] | MATTE WHITE | [8 empty] | LOBBY
[8 empty] | MISC-7 | MDC OR EQ. |  |  |  |  | DIGITAL STUDIO-DIGITAL IMAGING |  |  |  | CUSTOM IMAGE |  |  |  |  | VINYL WALLCOVERING | [18 empty] | FULL H & WALL TO WALL | [16 empty] | NAUTICAL MAP | [8 empty] | REFER TO REFERENCE IMAGE FOR IMAGE INTENT.-ID TO COORDINATE WITH CONTRACTOR &VENDOR
[8 empty] | MISC-8 | TBD -LOCAL ARTIST |  |  |  |  | N/A |  |  |  | CUSTOM IMAGE |  |  |  |  | PAINTED GRAPHIC- FINEARTAMERICA.COM-IRA SHANDLER | [18 empty] | FULL H & WALL TO WALL | [16 empty] | SANIBEL LIGHTHOUSE | [8 empty] | REFER TO REFERENCE IMAGE FOR IMAGE INTENT.-ID TO COORDINATE WITH CONTRACTOR &VENDOR
[8 empty] | MISC-9 | MDC OR EQ. |  |  |  |  | DIGITAL STUDIO-DIGITAL IMAGING |  |  |  | CUSTOM IMAGE |  |  |  |  | VINYL | [18 empty] | FULL H & WALL TO WALL | [16 empty] | SCORPION- ADOBE STOCK #288256816 | [8 empty] | FINAL IMAGE TO BE CHOOSEN BY OWNER-ID TO COORDINATE WITH CONTRACTOR &VENDOR
[8 empty] | MISC-10 | CORNELL INNOVATIVE DOOR SOLUTIONS |  |  |  |  | IMAGE MATCH |  |  |  | CUSTOM IMAGE |  |  |  |  | CUSTOM GRAPHIC ON ROLLING GRILL | [18 empty] | TBD W/MANF. | [16 empty] | BRUISED BUT NOT BROKEN LOGO | [8 empty] | IMAGE PLACEMENT TO BE COORDINATED WITH VENDOR AND INTERIOR DESIGNER
[8 empty] | MISC-11 | WYOMING METALSMITHS |  |  |  |  | WROUGHT IRON HANDRAILS |  |  |  | CUSTOM IMAGE |  |  |  |  | IRON ROPE HANDRAIL | [18 empty] | TBD | [16 empty] | WROUGHT IRON | [8 empty] | SIZING PER CODE REQUIREMENTS
| A1 | TRANS. DETAIL - LVT TO C |  | A5 |  |  | TRANS. DETAIL - LVT TO THICK RUBBER
[8 empty] | MISC-12 | MATT HATTFIELD ART |  |  |  |  | BRICK WALL GRAPHIC |  |  |  | CUSTOM IMAGE |  |  |  |  | CAST VINYL GLOSSY-WITH LAMINATION | [18 empty] | SEE ELEV. | [16 empty] | TBD BY OWNER | [8 empty] | FINAL IMAGE TO BE CHOOSEN BY OWNER-ID TO COORDINATE WITH CONTRACTOR &VENDOR
[8 empty] | SKIM-2 | STUCCO SKIM COAT |  |  |  |  | TBD | [8 empty] | SMOOTH | [44 empty] | STAIR TOWER CENTER SHAFT
| 12" = 1'-0" |  |  | 12" = 1'-0"

## INTERIOR_FINISH_SCHE_1
0 | 1 | 2
REVISIONS
MARK | DESCRIPTION | DATE

## TOILET_ACCESSORY_SCH_0
0 | 1 | 2 | 3 | 4 | 5 | 6
FIXTURE OR ACCESSORY | MANUFACTURER | MODEL # | REMARKS | OFOI | OFCI | CFCI
GRAB BAR - 48 INCH | BOBRICK | B-6806 |  |  |  | X
GRAB BAR - 36 INCH | BOBRICK | B-6806 |  |  |  | X
GRAB BAR - CONTINUOUS HORIZONTAL BAR, L-SHAPE | BOBRICK | B-6861 |  |  |  | X
MIRROR | KOHLER | K-31364-BNL | 24"X36" |  |  | X
SOAP DISPENSER | BY OWNER | BY OWNER |  | X
OCEANS ELEMENT LEVER ROLL TOWEL DISPENSER | SAN JAMAR | T990TBL | OWNER PURCHASE |  | X
COMMERCIAL TOILET PAPER DISPENSER-TWIN ROLL (WHITE) | ENBATH | N/A | OWNER PURCHASE |  | X
TOILET PAPER HOLDER W/SHELF WALL MOUNTED (MATTE BLACK) | BJIOTUN | B08BYGW8QV | OWNER PURCHASE |  | X
BENCH BY OWNER | BY OWNER | BY OWNER |  | X
SHOWER ROD / SHOWER CURTAIN HOOK / SHOWER CURTAIN | BY OWNER |  |  |  |  | X
WALL-MOUNTED BABY CHANGING STATION | ASI | 9013-9 | HANDLE AT 48" A.F.F. MAX. INSTALL PER MANUFACTURER SPECS. |  |  | X
SHELF, RAG, & HOOK BROOM HOLDER | HOMEASY | SUS304 | OWNER PURCHASE | X
STEAM SHOWER HEAD | AMEREC | COMFORTFLO-8816-36 CFSH-BN |  |  |  | X
STEAM SHOWER CONTROLS | AMEREC |  |  |  |  | X

## TOILET_ACCESSORY_SCH_1
0 | 1 | 2 | 3 | 4 | 5 | 6
FIXTURE OR ACCESSORY | MANUFACTURER | MODEL # | REMARKS | OFOI | OFCI | CFCI
GRAB BAR - 48 INCH | BOBRICK | B-6806 |  |  |  | X
GRAB BAR - 36 INCH | BOBRICK | B-6806 |  |  |  | X
GRAB BAR - CONTINUOUS HORIZONTAL BAR, L-SHAPE | BOBRICK | B-6861 |  |  |  | X
MIRROR | KOHLER | K-31364-BNL | 24"X36" |  |  | X
SOAP DISPENSER | BY OWNER | BY OWNER |  | X
OCEANS ELEMENT LEVER ROLL TOWEL DISPENSER | SAN JAMAR | T990TBL | OWNER PURCHASE |  | X
COMMERCIAL TOILET PAPER DISPENSER-TWIN ROLL (WHITE) | ENBATH | N/A | OWNER PURCHASE |  | X
TOILET PAPER HOLDER W/SHELF WALL MOUNTED (MATTE BLACK) | BJIOTUN | B08BYGW8QV | OWNER PURCHASE |  | X
BENCH BY OWNER | BY OWNER | BY OWNER |  | X
SHOWER ROD / SHOWER CURTAIN HOOK / SHOWER CURTAIN | BY OWNER |  |  |  |  | X
WALL-MOUNTED BABY CHANGING STATION | ASI | 9013-9 | HANDLE AT 48" A.F.F. MAX. INSTALL PER MANUFACTURER SPECS. |  |  | X
SHELF, RAG, & HOOK BROOM HOLDER | HOMEASY | SUS304 | OWNER PURCHASE | X
STEAM SHOWER HEAD | AMEREC | COMFORTFLO-8816-36 CFSH-BN |  |  |  | X
STEAM SHOWER CONTROLS | AMEREC |  |  |  |  | X

## DOOR_SCHEDULE,_DOOR__0
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Level | DOOR NUMBER | DOOR PANEL LEAF |  |  |  | GLAZING TYPE | DOOR FRAME |  | DOOR/FRAME RATING | STC RATING | DOOR HARDWARE | ACCESS CONTROL | DETAILS
|  | WIDTH | HEIGHT | TYPE | MATERIAL |  | TYPE | MATERIAL |  |  |  |  | HEAD | JAMB | THRESHOLD / SILL
STORAGE FIN. FLR. | 004 | 3' - 0" | 7' - 0" | F | HM |  | 3 | HM |  |  | 06 |  | A1/A510 | F1/A510 | L1/A510
STORAGE FIN. FLR. | 004A | 10' - 0" | 8' - 0" | OHS | STL |  | MFG | STL |  |  |  |  | J15/A512 | E15/A512 | A15/A512
STORAGE FIN. FLR. | 004B | 10' - 0" | 8' - 0" | OHS | STL |  | MFG | STL |  |  |  |  | J15/A512 | E15/A512 | A15/A512
APPARATUS FLOOR | 001 | 3' - 0" | 8' - 0" | N | HM | GL-1A | 3 | HM |  |  | 02 | Y | A1/A510 | F1/A510 | L1/A510
APPARATUS FLOOR | 001A | 14' - 0" | 14' - 0" | BFA | STL | GL-4 |  | STL |  |  | 14 |  | L1/A512 | F1/A512 | A1/A512
APPARATUS FLOOR | 001B | 14' - 0" | 14' - 0" | BFA | STL | GL-4 |  | STL |  |  | 14 |  | L1/A512 | F1/A512 | A1/A512
APPARATUS FLOOR | 001C | 14' - 0" | 14' - 0" | BFA | STL | GL-4 |  | STL |  |  | 14 |  | L1/A512 | F1/A512 | A1/A512
APPARATUS FLOOR | 001D | 14' - 0" | 14' - 0" | OHMC | STL |  |  | STL |  |  | 14 |  | N11/A512 | E11/A512 | A11/A512
APPARATUS FLOOR | 001E | 14' - 0" | 14' - 0" | OHMC | STL |  |  | STL |  |  | 14 |  | N11/A512 | E11/A512 | A11/A512
APPARATUS FLOOR | 001F | 14' - 0" | 14' - 0" | OHMC | STL |  |  | STL |  |  | 14 |  | N11/A512 | E11/A512 | A11/A512
APPARATUS FLOOR | 002 | 3' - 0" | 8' - 0" | N | HM | FG-45 | 3 | HM | 60 |  | 02 | Y | A1/A510 | F1/A510 | L1/A510
APPARATUS FLOOR | 003 | 3' - 0" | 8' - 0" | F | HM |  | 3 | HM |  |  | 06 |  | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 100 | 3' - 0" | 8' - 0" | FG | ALUM. | SF GLAZING (GL-2) | 3 | ALUM. |  |  | 01
GROUND FLOOR (13' NAVD) | 101 | 3' - 0" | 8' - 0" | F | HM |  | 3 | HM |  |  | 07 | Y | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 102 | 3' - 0" | 8' - 0" | F | HM |  | 3 | HM |  |  | 08 |  | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 103 | 3' - 0" | 8' - 0" | N | HM | FG-45 | 3 | HM | 60 |  | 06 | Y | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 103A | 3' - 0" | 8' - 0" | N | HM | FG-45 | 3 | HM | 60 |  | 06 |  | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 104 | 3' - 0" | 8' - 0" | N | HM | FG-45 | 3 | HM | 60 |  | 10 |  | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 104A | 3' - 0" | 8' - 0" | N | HM | FG-45 | 3 | HM | 45 |  | 06 |  | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 105 | 3' - 0" | 8' - 0" | F | HM |  | 3 | HM |  |  | 09 |  | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 105A | 3' - 0" | 8' - 0" | SSD | GLASS | GT |  | S.S. |  |  |  |  | N14/A513 | F14/A513 / J14/A513
GROUND FLOOR (13' NAVD) | 107 | 3' - 0" | 8' - 0" | F | HM |  | 3 | HM | 45 |  | 11 |  | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 108 | 3' - 0" | 8' - 0" | N | HM | FG-45 | 3 | HM | 45 |  | 06 |  | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 110 | 3' - 0" | 8' - 0" | N | HM | GL-4 | 3 | HM | 45 |  | 06 | Y | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 111 | 3' - 0" | 8' - 0" | N | HM | GL-4 | 3 | HM | 45 |  | 06 |  | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 111A | 3' - 0" | 8' - 0" | N | HM | GL-1A | 3 | HM |  |  | 02 |  | A1/A510 | F1/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 112 | 3' - 0" | 8' - 0" | N | HM | FG-45 | 3 | HM | 45 |  | 06 | Y | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 113 | 6' - 0" | 8' - 0" | F(2) | HM |  | 4 | HM |  |  | 04 | Y | A1/A510 | F1/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 124 | 3' - 0" | 8' - 0" | BY MFR. | BY MFR. | BY MFR. | BY MFR. | BY MFR. | BY MFR. |  | BY MFR. |  | L9/A581 |  | A9/A581
SECOND FLOOR | 200 | 3' - 0" | 8' - 0" | N | HM | FG-45 | 3 | HM | 60 |  | 05 |  | A6/A510 | F6/A510 | L1/A510
SECOND FLOOR | 200A | 3' - 0" | 8' - 0" | N | HM | FG-45 | 3 | HM | 60 |  | 03 |  | A1/A510 | F1/A510 | L1/A510
SECOND FLOOR | 201 | 3' - 0" | 7' - 10" | FG | ALUM. | SF GLAZING (GT) | 1 | ALUM.
SECOND FLOOR | 201A | 3' - 0" | 7' - 10" | FG | ALUM. | SF GLAZING (GT) | 1 | ALUM. |  |  | 12
SECOND FLOOR | 202 | 3' - 0" | 8' - 0" | N | WD | GL-4 | 1 | HM |  |  | 10 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 203 | 3' - 0" | 8' - 0" | F | WD |  | 1 | HM |  |  | 10 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 204 | 3' - 0" | 8' - 0" | N | WD | GL-4 | 1 | HM |  |  | 06 | Y | A11/A510 | F14/A510 | L1/A510
SECOND FLOOR | 205 | 3' - 0" | 7' - 10" | FG | ALUM. | SF GLAZING (GT) | 1 | ALUM.
SECOND FLOOR | 206 | 3' - 0" | 8' - 0" | FG | ALUM. | SF GLAZING (GL-2) | 1 | ALUM. |  |  | 01
SECOND FLOOR | 208 | 11' - 11 1/2" | 7' - 11 1/2" | SGD | ALUM. | GL-3 |  | ALUM. |  |  |  |  | L11/A511 | F11/A511 | A11/A511
SECOND FLOOR | 209 | 6' - 6" | 8' - 0" | OHC | STL |  |  | STL |  |  | 14 |  | N11/A512 | J11/A512 | A11/A512
SECOND FLOOR | 210 | 6' - 6" | 8' - 0" | OHC | STL |  |  | STL |  |  | 14 |  | N11/A512 | J11/A512 | A11/A512
SECOND FLOOR | 211 | 6' - 6" | 8' - 0" | OHC | STL |  |  | STL |  |  | 14 |  | N11/A512 | J11/A512 | A11/A512
SECOND FLOOR | 212 | 3' - 0" | 8' - 0" | F | WD |  | 1 | HM |  |  | 08 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 213 | 3' - 0" | 8' - 0" | F | WD |  | 1 | HM |  |  | 08 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 214 | 3' - 0" | 8' - 0" | F | WD |  | 1 | HM |  |  | 10 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 215 | 3' - 0" | 8' - 0" | N | WD | GL-4 | 1 | HM | 20 |  | 10 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 216 | 3' - 0" | 8' - 0" | F | WD |  | 1 | HM | 20 |  | 10 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 217 | 3' - 0" | 8' - 0" | F | WD |  | 1 | HM | 20 |  | 10 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 218 | 3' - 0" | 8' - 0" | F | WD |  | 1 | HM | 20 |  | 10 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 219 | 3' - 0" | 8' - 0" | F | WD |  | 1 | HM | 20 |  | 10 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 220 | 3' - 0" | 8' - 0" | F | WD |  | 1 | HM | 20 |  | 10 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 222 | 3' - 0" | 7' - 10" | FG3 | ALUM. | SCREEN | 1 | ALUM. |  |  | 13
SECOND FLOOR | 224 | 3' - 0" | 8' - 0" | BY MFR. | BY MFR. | BY MFR. | BY MFR. | BY MFR. | BY MFR. |  | BY MFR. |  | L9/A581 |  | A9/A581

## DOOR_SCHEDULE,_DOOR__1
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Level | DOOR NUMBER | DOOR PANEL LEAF |  |  |  | GLAZING TYPE | DOOR FRAME |  | DOOR/FRAME RATING | STC RATING | DOOR HARDWARE | ACCESS CONTROL | DETAILS
|  | WIDTH | HEIGHT | TYPE | MATERIAL |  | TYPE | MATERIAL |  |  |  |  | HEAD | JAMB | THRESHOLD / SILL
STORAGE FIN. FLR. | 004 | 3' - 0" | 7' - 0" | F | HM |  | 3 | HM |  |  | 06 |  | A1/A510 | F1/A510 | L1/A510
STORAGE FIN. FLR. | 004A | 10' - 0" | 8' - 0" | OHS | STL |  | MFG | STL |  |  |  |  | J15/A512 | E15/A512 | A15/A512
STORAGE FIN. FLR. | 004B | 10' - 0" | 8' - 0" | OHS | STL |  | MFG | STL |  |  |  |  | J15/A512 | E15/A512 | A15/A512
APPARATUS FLOOR | 001 | 3' - 0" | 8' - 0" | N | HM | GL-1A | 3 | HM |  |  | 02 | Y | A1/A510 | F1/A510 | L1/A510
APPARATUS FLOOR | 001A | 14' - 0" | 14' - 0" | BFA | STL | GL-4 |  | STL |  |  | 14 |  | L1/A512 | F1/A512 | A1/A512
APPARATUS FLOOR | 001B | 14' - 0" | 14' - 0" | BFA | STL | GL-4 |  | STL |  |  | 14 |  | L1/A512 | F1/A512 | A1/A512
APPARATUS FLOOR | 001C | 14' - 0" | 14' - 0" | BFA | STL | GL-4 |  | STL |  |  | 14 |  | L1/A512 | F1/A512 | A1/A512
APPARATUS FLOOR | 001D | 14' - 0" | 14' - 0" | OHMC | STL |  |  | STL |  |  | 14 |  | N11/A512 | E11/A512 | A11/A512
APPARATUS FLOOR | 001E | 14' - 0" | 14' - 0" | OHMC | STL |  |  | STL |  |  | 14 |  | N11/A512 | E11/A512 | A11/A512
APPARATUS FLOOR | 001F | 14' - 0" | 14' - 0" | OHMC | STL |  |  | STL |  |  | 14 |  | N11/A512 | E11/A512 | A11/A512
APPARATUS FLOOR | 002 | 3' - 0" | 8' - 0" | N | HM | FG-45 | 3 | HM | 60 |  | 02 | Y | A1/A510 | F1/A510 | L1/A510
APPARATUS FLOOR | 003 | 3' - 0" | 8' - 0" | F | HM |  | 3 | HM |  |  | 06 |  | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 100 | 3' - 0" | 8' - 0" | FG | ALUM. | SF GLAZING (GL-2) | 3 | ALUM. |  |  | 01
GROUND FLOOR (13' NAVD) | 101 | 3' - 0" | 8' - 0" | F | HM |  | 3 | HM |  |  | 07 | Y | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 102 | 3' - 0" | 8' - 0" | F | HM |  | 3 | HM |  |  | 08 |  | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 103 | 3' - 0" | 8' - 0" | N | HM | FG-45 | 3 | HM | 60 |  | 06 | Y | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 103A | 3' - 0" | 8' - 0" | N | HM | FG-45 | 3 | HM | 60 |  | 06 |  | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 104 | 3' - 0" | 8' - 0" | N | HM | FG-45 | 3 | HM | 60 |  | 10 |  | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 104A | 3' - 0" | 8' - 0" | N | HM | FG-45 | 3 | HM | 45 |  | 06 |  | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 105 | 3' - 0" | 8' - 0" | F | HM |  | 3 | HM |  |  | 09 |  | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 105A | 3' - 0" | 8' - 0" | SSD | GLASS | GT |  | S.S. |  |  |  |  | N14/A513 | F14/A513 / J14/A513
GROUND FLOOR (13' NAVD) | 107 | 3' - 0" | 8' - 0" | F | HM |  | 3 | HM | 45 |  | 11 |  | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 108 | 3' - 0" | 8' - 0" | N | HM | FG-45 | 3 | HM | 45 |  | 06 |  | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 110 | 3' - 0" | 8' - 0" | N | HM | GL-4 | 3 | HM | 45 |  | 06 | Y | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 111 | 3' - 0" | 8' - 0" | N | HM | GL-4 | 3 | HM | 45 |  | 06 |  | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 111A | 3' - 0" | 8' - 0" | N | HM | GL-1A | 3 | HM |  |  | 02 |  | A1/A510 | F1/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 112 | 3' - 0" | 8' - 0" | N | HM | FG-45 | 3 | HM | 45 |  | 06 | Y | A6/A510 | F6/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 113 | 6' - 0" | 8' - 0" | F(2) | HM |  | 4 | HM |  |  | 04 | Y | A1/A510 | F1/A510 | L1/A510
GROUND FLOOR (13' NAVD) | 124 | 3' - 0" | 8' - 0" | BY MFR. | BY MFR. | BY MFR. | BY MFR. | BY MFR. | BY MFR. |  | BY MFR. |  | L9/A581 |  | A9/A581
SECOND FLOOR | 200 | 3' - 0" | 8' - 0" | N | HM | FG-45 | 3 | HM | 60 |  | 05 |  | A6/A510 | F6/A510 | L1/A510
SECOND FLOOR | 200A | 3' - 0" | 8' - 0" | N | HM | FG-45 | 3 | HM | 60 |  | 03 |  | A1/A510 | F1/A510 | L1/A510
SECOND FLOOR | 201 | 3' - 0" | 7' - 10" | FG | ALUM. | SF GLAZING (GT) | 1 | ALUM.
SECOND FLOOR | 201A | 3' - 0" | 7' - 10" | FG | ALUM. | SF GLAZING (GT) | 1 | ALUM. |  |  | 12
SECOND FLOOR | 202 | 3' - 0" | 8' - 0" | N | WD | GL-4 | 1 | HM |  |  | 10 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 203 | 3' - 0" | 8' - 0" | F | WD |  | 1 | HM |  |  | 10 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 204 | 3' - 0" | 8' - 0" | N | WD | GL-4 | 1 | HM |  |  | 06 | Y | A11/A510 | F14/A510 | L1/A510
SECOND FLOOR | 205 | 3' - 0" | 7' - 10" | FG | ALUM. | SF GLAZING (GT) | 1 | ALUM.
SECOND FLOOR | 206 | 3' - 0" | 8' - 0" | FG | ALUM. | SF GLAZING (GL-2) | 1 | ALUM. |  |  | 01
SECOND FLOOR | 208 | 11' - 11 1/2" | 7' - 11 1/2" | SGD | ALUM. | GL-3 |  | ALUM. |  |  |  |  | L11/A511 | F11/A511 | A11/A511
SECOND FLOOR | 209 | 6' - 6" | 8' - 0" | OHC | STL |  |  | STL |  |  | 14 |  | N11/A512 | J11/A512 | A11/A512
SECOND FLOOR | 210 | 6' - 6" | 8' - 0" | OHC | STL |  |  | STL |  |  | 14 |  | N11/A512 | J11/A512 | A11/A512
SECOND FLOOR | 211 | 6' - 6" | 8' - 0" | OHC | STL |  |  | STL |  |  | 14 |  | N11/A512 | J11/A512 | A11/A512
SECOND FLOOR | 212 | 3' - 0" | 8' - 0" | F | WD |  | 1 | HM |  |  | 08 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 213 | 3' - 0" | 8' - 0" | F | WD |  | 1 | HM |  |  | 08 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 214 | 3' - 0" | 8' - 0" | F | WD |  | 1 | HM |  |  | 10 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 215 | 3' - 0" | 8' - 0" | N | WD | GL-4 | 1 | HM | 20 |  | 10 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 216 | 3' - 0" | 8' - 0" | F | WD |  | 1 | HM | 20 |  | 10 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 217 | 3' - 0" | 8' - 0" | F | WD |  | 1 | HM | 20 |  | 10 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 218 | 3' - 0" | 8' - 0" | F | WD |  | 1 | HM | 20 |  | 10 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 219 | 3' - 0" | 8' - 0" | F | WD |  | 1 | HM | 20 |  | 10 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 220 | 3' - 0" | 8' - 0" | F | WD |  | 1 | HM | 20 |  | 10 |  | A11/A510 | F11/A510 | L1/A510
SECOND FLOOR | 222 | 3' - 0" | 7' - 10" | FG3 | ALUM. | SCREEN | 1 | ALUM. |  |  | 13
SECOND FLOOR | 224 | 3' - 0" | 8' - 0" | BY MFR. | BY MFR. | BY MFR. | BY MFR. | BY MFR. | BY MFR. |  | BY MFR. |  | L9/A581 |  | A9/A581

## DOOR_SCHEDULE,_DOOR__2
0 | 1 | 2
REVISIONS
MARK | DESCRIPTION | DATE